## Results
Year
FLH_ely | 5290.1955
H2_amount | 9158.2442
P_ely_total | 529019.5467
P_nom_wind | 181.5127
P_nom_pv | 162.0334
P_nom_bess | 20
P_nom_ely | 100
cost_ppa | 38573.4001
cost_da | 0
cost_rd | 0
revenue_da | 0
revenue_h2 | 54949.4651
revenue_total | 54949.4651
curtailment_MWh | 45388.98
curtailment_da_volume_expost | 0
curtailment_da_revenue_expost | 0
revenue_da_adjusted | 0
da_revenue_share_pct | 0
total_elec_cost | 38573.4001
rd_share_pct | 0
avg_electricity_costs | 0.072915
avg_electricity_costs_revenues | 0.072915
avg_buy_price_incl_ppa | 0.067032
avg_buy_price_excl_ppa | 0
avg_sell_price_da | 0
avg_rd_reimbursement | 0
correlation_ok | TRUE
correlation_surplus_MWh | 0
n_hourly_correlation_violations | 0
Deckungsbeitrag | 16376.065
converged | TRUE
solver_status | optimal
solve_time_s | 937.8222
LCOH_final | 7.1631

## Parameters
Config | Parameter | Wert
ely | p_nom | 100
ely | lifetime | 30
ely | min_load_share | 0.2
ely | max_start_stop_cycles | 500
ely | efficiency | 0.577
ely | LHV_H2 | 33.33
ely | capex | 2075
ely | opex_per_mw | 51.88
ely | stack_replacment_cost | 290
ely | stack_lifetime | 10
ely | min_h2_annual | 0
bess | c_rate | 0.5
bess | eta_charge | 0.95
bess | eta_discharge | 0.95
bess | soc_initial_share | 0.5
bess | soc_min_share | 0.1
bess | lifetime | 14
bess | capacity_eol_share | 0.7
bess | capex | 200
bess | opex_share | 0.01
bess | max_cycles_per_year | 500
bess | max_cycles_per_day | 2
bess | cycle_life | 7000
bess | p_nom | 20
ppa | price_wind | 0.076
ppa | price_pv | 0.049
ppa | p_nom_wind_max | 200
ppa | p_nom_pv_max | 200
ppa | p_nom_wind_fixed
ppa | p_nom_pv_fixed
redispatch | price_13k | 0.025
redispatch | price_cap_13k | 0.45
redispatch | rd_region | H2
rfnbo | rfnbo_threshold | 0.02
rfnbo | eua_price_factor | 0.36
rfnbo | correlation_mode | monthly
rfnbo | enforce_correlation | TRUE
rfnbo | correlation_ely_only | FALSE
market | use_ppa | TRUE
market | use_da_buy | FALSE
market | use_ppa_da_sell | FALSE
market | use_bess_da_sell | FALSE
market | use_rd | FALSE
market | use_curtailment | TRUE
economics | wacc | 0.08
economics | price_h2 | 6
economics | sell_curtailment_ex_post | FALSE
run | YEAR | 2025

## LCOH
Position | Jahreskosten [EUR/a] | Anteil LCOH [EUR/kg]
CAPEX Elektrolyseur | 20177552.0318 | 2.2032
CAPEX BESS | 970374.8226 | 0.10596
CAPEX Netzanschluss/Trafo | 612323.0293 | 0.06686
OPEX Elektrolyseur | 5188000 | 0.56648
OPEX BESS | 80000 | 0.0087353
PPA-Kosten | 38573400.1054 | 4.2119
DA-Einkauf | 0 | 0
DA-Verkauf (Erloes) | 0 | 0
DA-Verkauf Curtailment (ex post) | 0 | 0
§13k-Erstattung | 0 | 0
Summe / LCOH | 65601649.9892 | 7.1631