## Results
Year
FLH_ely | 5635.9713
H2_amount | 975.6842
P_ely_total | 56359.7133
P_nom_wind | 100
P_nom_pv | 100
P_nom_bess | 2
P_nom_ely | 10
cost_ppa | 21871.3456
cost_da | 0
cost_rd | 0
revenue_da | 19659.0059
revenue_h2 | 5854.1052
revenue_total | 25513.1111
curtailment_MWh | 46154.9579
curtailment_da_volume_expost | 0
curtailment_da_revenue_expost | 0
revenue_da_adjusted | 19659.0059
da_revenue_share_pct | 77.0545
total_elec_cost | 2212.3397
rd_share_pct | 0
avg_electricity_costs | 0.38807
avg_electricity_costs_revenues | 0.039254
avg_buy_price_incl_ppa | 0.06634
avg_buy_price_excl_ppa | 0
avg_sell_price_da | 0.086598
avg_rd_reimbursement | 0
correlation_ok | TRUE
correlation_surplus_MWh | 227014.2525
n_hourly_correlation_violations | 0
Deckungsbeitrag | 3641.7656
converged | TRUE
solver_status | optimal
solve_time_s | 13.6324
LCOH_final | 5.0377

## Parameters
Config | Parameter | Wert
ely | p_nom | 10
ely | lifetime | 30
ely | min_load_share | 0.2
ely | max_start_stop_cycles | 500
ely | efficiency | 0.577
ely | LHV_H2 | 33.33
ely | capex | 2075
ely | opex_per_mw | 51.88
ely | stack_replacment_cost | 290
ely | stack_lifetime | 10
ely | min_h2_annual | 0
bess | c_rate | 0.5
bess | eta_charge | 0.95
bess | eta_discharge | 0.95
bess | soc_initial_share | 0.5
bess | soc_min_share | 0.1
bess | lifetime | 14
bess | capacity_eol_share | 0.7
bess | capex | 200
bess | opex_share | 0.01
bess | max_cycles_per_year | 500
bess | max_cycles_per_day | 2
bess | cycle_life | 7000
bess | p_nom | 2
ppa | price_wind | 0.076
ppa | price_pv | 0.049
ppa | p_nom_wind_max | 100
ppa | p_nom_pv_max | 100
redispatch | price_13k | 0.025
redispatch | price_cap_13k | 0.45
redispatch | rd_region | H2
rfnbo | rfnbo_threshold | 0.02
rfnbo | eua_price_factor | 0.36
rfnbo | correlation_mode | monthly
rfnbo | enforce_correlation | TRUE
rfnbo | correlation_ely_only | FALSE
market | use_ppa | TRUE
market | use_da_buy | FALSE
market | use_ppa_da_sell | TRUE
market | use_bess_da_sell | FALSE
market | use_rd | FALSE
market | use_curtailment | TRUE
economics | wacc | 0.08
economics | price_h2 | 6
economics | sell_curtailment_ex_post | FALSE
run | YEAR | 2025

## LCOH
Position | Jahreskosten [EUR/a] | Anteil LCOH [EUR/kg]
CAPEX Elektrolyseur | 2017755.2032 | 2.068
CAPEX BESS | 97037.4823 | 0.099456
CAPEX Netzanschluss/Trafo | 61232.3029 | 0.062758
OPEX Elektrolyseur | 518800 | 0.53173
OPEX BESS | 8000 | 0.0081994
PPA-Kosten | 21871345.5648 | 22.4164
DA-Einkauf | 0 | 0
DA-Verkauf (Erloes) | -19659005.8863 | -20.1489
DA-Verkauf Curtailment (ex post) | 0 | 0
§13k-Erstattung | 0 | 0
Summe / LCOH | 4915164.6669 | 5.0377